## Auditor Qualification
AUDITOR QUALIFICATION REVIEW & CONFIRMATION
ISO 13485:2016 Cl.8.2.2 ¦ ISO 19011:2018 ¦ FDA QMSR 21 CFR 820 ¦ MDSAP ¦ EU MDR 2017/745
This form MUST be completed and approved BEFORE the audit commences
Audit Plan Ref: |  |  |  | Audit Period: |  |  |  | Audit Scope:
Applicable Schemes:
REGULATORY BASIS FOR AUDITOR COMPETENCE REQUIREMENTS
ISO 13485:2016 Cl.8.2.2 |  | Internal auditors shall be competent. Auditors shall not audit their own work. Auditor selection and conduct must ensure objectivity and impartiality.
ISO 19011:2018 Cl.7 |  | Auditor competence: relevant knowledge, skills, education, work experience, auditor training, and audit experience. Competence should be regularly evaluated.
FDA QMSR (eff. Feb 2, 2026) |  | Internal audit records are NOW SUBJECT TO FDA INSPECTION. Auditor qualifications must be documented and defensible. §820.10(c) requires risk-based approach.
MDSAP AU P0002.006 |  | Auditors performing MDSAP-scope audits must demonstrate competence in regulatory requirements for each applicable participating authority.
EU MDR Ann.IX §2.2(a) |  | Internal audits must be conducted by qualified personnel. NB auditors assess internal audit program adequacy including auditor competence.
LEAD AUDITOR / AUDITOR QUALIFICATION DETAILS
# | Auditor Name | Role (Lead / Auditor / Technical Expert) | Qualification / Competence Area | Trained (Y/N) | Date of Training | Training Record Ref (certificate, log, LMS) | Audit Experience (# of audits) | Independence Confirmed (Y/N) | Scheme(s) Qualified For | Expiry / Requalification Date | Notes
1 |  | Lead Auditor | ISO 13485:2016 Lead Auditor training
ISO 19011:2018 Audit management & techniques
FDA QMSR 21 CFR 820 (post-Feb 2, 2026 structure)
Health Canada SOR/98-282 + MDSAP requirements
TGA Australia TG(MD)R 2002 + Essential Principles (updated Nov 2025)
ANVISA Brazil RDC 665/2022 + RDC 615 Technovigilance
MHLW Japan MO 169 (rev. 2021) + PMD Act
EU MDR 2017/745 Annex IX Conformity Assessment
Risk management ISO 14971:2019
Industry/product-specific technical knowledge
2 |  | Auditor | ISO 13485:2016 Internal Auditor training
FDA QMSR 21 CFR 820 (post-Feb 2, 2026 structure)
[Add applicable regulatory scheme training]
Risk management ISO 14971:2019
Industry/product-specific technical knowledge
3 |  | Auditor / Technical Expert | [Specify qualification area]
[Add applicable regulatory scheme training]
[Specify technical expertise area]
AUDITOR INDEPENDENCE & IMPARTIALITY DECLARATION
☐ No auditor will audit processes for which they have direct operational responsibility (ISO 13485 Cl.8.2.2)
☐ All auditors are independent from the activities being audited (ISO 19011 Cl.5.4.2)
☐ Any potential conflicts of interest have been identified and mitigated
☐ Technical experts (if assigned) support the auditor but do not make audit findings independently
COMPETENCE GAPS & MITIGATION (if any)
# | Auditor Name | Competence Gap Identified |  | Mitigation Action |  |  | Due Date | Status
QUALIFICATION REVIEW & APPROVAL
☐ All assigned auditors meet competence requirements for the applicable regulatory schemes in scope
☐ Training records have been verified and are current
☐ Independence and impartiality requirements are satisfied
☐ Any competence gaps have been identified with mitigation plans in place
☐ Audit team composition is adequate for the scope and complexity of the audit
Reviewed by (QA Manager / Audit Program Manager):
Name: |  |  |  |  | Signature:
Date: |  |  |  |  | Title:
Approved by (Quality Director / Management Representative):
Name: |  |  |  |  | Signature:
Date: |  |  |  |  | Title:
NOTE: This form must be completed for EACH audit cycle. Retain with audit records per document retention requirements.
FDA QMSR: Internal audit records, management review records, and supplier audit records are NOW subject to FDA inspection (effective Feb 2, 2026).
Need help customizing this for your device portfolio and target markets? Free 30-min scope review: svetlana.abel@saqms.com

## Audit Plan
INTERNAL AUDIT PLAN — HARMONIZED MULTI-SCHEME
ISO 13485:2016 ¦ FDA QMSR 21 CFR 820 (eff. Feb 2, 2026) ¦ MDSAP: HC, TGA, ANVISA, MHLW/PMDA ¦ EU MDR 2017/745
Year: |  | Prepared by: |  |  | Approved by: |  |  | Date:
Certification Scope:
PRE-AUDIT VERIFICATION
☐ Plan covers ALL processes/clauses required by certification scope
☐ All applicable regulatory schemes identified per target market registrations
☐ Audit frequency meets requirements (annual min for ISO 13485; per MDSAP cycle; EU MDR Annex IX)
☐ Auditor competence confirmed for assigned schemes → SEE "Auditor Qualification" SHEET (completed & approved BEFORE audit)
☐ No process excluded without documented justification (ISO 13485 clause 1.2 permissible exclusions only)
Verified by: |  |  |  | Date: |  | Signature:
# | QMS Process / Clause Area | ISO 13485 Clause | FDA QMSR 21 CFR 820 (eff. 02/02/2026) | Health Canada (SOR/98-282 amended 2025) | TGA Australia (TG(MD)R 2002 Essential Principles) | ANVISA Brazil (RDC 665/2022) | MHLW Japan (MO 169 rev.2021) | EU MDR 2017/745 | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
CLAUSE 4: QUALITY MANAGEMENT SYSTEM
1 | QMS General Requirements & Outsourced Processes | 4.1 | §820.10(a) QMS per ISO 13485 §820.10(c) Risk-based approach §820.10(d) Identify all applicable regs | SOR s.2 | TG(MD)R 2002 Essential Principles | RDC 665 Art.4-7 | MO 169 (2021) Art.5-7 | Art.10(9), Ann.IX
2 | Quality Manual & Medical Device File | 4.2.1-4.2.2 | §820.7 IBR → ISO 13485 Cl.4.2 Note: DMR/DHR replaced by MDF concept | SOR s.26-30 Device files | TG(MD)R Essential Principles compliance | RDC 665 Art.8-10 | MO 169 Art.7-2 Medical Device File | Ann.IX §2.2, Ann.II-III
3 | Document Control & Record Control | 4.2.3-4.2.5 | §820.7 IBR → ISO 13485 Cl.4.2.3-4.2.5 §820.35 Supplemental record requirements (complaint, service, UDI records) | SOR s.51-67 10 yr retention | TG(MD)R Record requirements | RDC 665 Art.9-12 | MO 169 Art.9-12 Ch.3 additional retention | Art.10(8) 10yr/15yr implant
CLAUSE 5: MANAGEMENT RESPONSIBILITY
4 | Management Commitment, Customer Focus & Quality Policy | 5.1-5.3 | §820.7 IBR → ISO 13485 Cl.5.1-5.3 NOTE: Mgmt review now subject to FDA inspection | SOR s.2 | TG(MD)R | RDC 665 Art.13-15 | MO 169 Art.13-15 | Ann.IX §2.2(a)
5 | QMS Planning & Quality Objectives | 5.4 | §820.7 IBR → ISO 13485 Cl.5.4 | SOR s.2 | TG(MD)R | RDC 665 Art.16 | MO 169 Art.16 | Ann.IX §2.2(a)
6 | Responsibility, Authority & Management Representative | 5.5 | §820.7 IBR → ISO 13485 Cl.5.5 | SOR s.2 | TG(MD)R | RDC 665 Art.17-18 | MO 169 Art.17-18 Ch.3: General MAH Director | Art.15 PRRC
7 | Management Review | 5.6 | §820.7 IBR → ISO 13485 Cl.5.6 NOTE: No longer exempt from FDA inspection | SOR s.2 | TG(MD)R | RDC 665 Art.19-20 | MO 169 Art.19-20 | Ann.IX §2.2(a)
CLAUSE 6: RESOURCE MANAGEMENT
8 | Resource Provision | 6.1 | §820.7 IBR → ISO 13485 Cl.6.1 | SOR s.2 | TG(MD)R | RDC 665 Art.21 | MO 169 Art.21 | Ann.IX §2.2(a)
9 | Human Resources — Competence & Training | 6.2 | §820.7 IBR → ISO 13485 Cl.6.2 | SOR s.2 | TG(MD)R | RDC 665 Art.22 | MO 169 Art.22 | Ann.IX §2.2(d)
10 | Infrastructure & Work Environment | 6.3-6.4 | §820.7 IBR → ISO 13485 Cl.6.3-6.4 | SOR s.2 | TG(MD)R Sch1 Pt1 cl.5 | RDC 665 Art.23-24 | MO 169 Art.23-24 | Ann.IX §2.2(a)
CLAUSE 7: PRODUCT REALIZATION
11 | Planning of Product Realization | 7.1 | §820.7 IBR → ISO 13485 Cl.7.1 §820.10(c) Risk management integration | SOR s.2 | TG(MD)R Sch1 | RDC 665 Art.25 | MO 169 Art.25 | Ann.IX §2.2(c)
12 | Customer-Related Processes | 7.2 | §820.7 IBR → ISO 13485 Cl.7.2 §820.10(b)(2) → 21 CFR 803 MDR reporting §820.10(b)(3) → 21 CFR 806 | SOR s.10-20, s.59-64 | TG Act s.41FQ | RDC 665 Art.26-29 RDC 615 Vigilance | MO 169 Art.26-29 Ch.3 Art.69-70 GVP | Art.10(1), Ann.I GSPR
13 | Design & Development (Planning, Inputs, Outputs) | 7.3.1-7.3.3 | §820.7 IBR → ISO 13485 Cl.7.3 §820.10(c) Risk-based design controls | SOR s.2 | TG(MD)R Sch1 | RDC 665 Art.30-32 | MO 169 Art.30-32 | Ann.II §4, Ann.IX
14 | Design & Development (Review, V&V, Transfer) | 7.3.4-7.3.7 | §820.7 IBR → ISO 13485 Cl.7.3.4-7.3.7 | SOR s.2 | TG(MD)R | RDC 665 Art.33-36 | MO 169 Art.33-36 | Ann.II §4, Art.61
15 | Design Changes & Design File | 7.3.8-7.3.10 | §820.7 IBR → ISO 13485 Cl.7.3.8-7.3.10 Note: MDF replaces DMR/DHR/DHF | SOR s.2, s.26-30 | TG(MD)R | RDC 665 Art.37-38 | MO 169 Art.37-38 Medical Device File | Art.10(10), Ann.II
16 | Purchasing & Supplier Control | 7.4 | §820.7 IBR → ISO 13485 Cl.7.4 §820.10(e) Supplier audit records now inspectable by FDA | SOR s.2 | TG(MD)R | RDC 665 Art.39-41 | MO 169 Art.39-41 | Ann.IX §2.2(c)
17 | Production Control & Process Validation | 7.5.1-7.5.3 | §820.7 IBR → ISO 13485 Cl.7.5.1-7.5.3 §820.45 Labeling/packaging controls §820.10(b)(4) Process validation | SOR s.2 | TG(MD)R Sch1 Pt1 cl.5 | RDC 665 Art.42-44 | MO 169 Art.42-44 | Ann.IX §2.2(c)
18 | Identification, Traceability & UDI | 7.5.4-7.5.8 | §820.7 IBR → ISO 13485 Cl.7.5.4-7.5.8 §820.10(b)(1) → UDI per 21 CFR 830 §820.35(c) UDI documentation | SOR s.2 UDI (evolving) | TG(MD)R UDI Regs 2023/2025 | RDC 665 Art.45-47 RDC 591/2021 UDI | MO 169 Art.45-47 UDI Japan (evolving) | Art.25-27, Ann.VI
19 | Preservation, Storage, Distribution | 7.5.9-7.5.11 | §820.7 IBR → ISO 13485 Cl.7.5.9-7.5.11 | SOR s.44-48 | TG(MD)R | RDC 665 Art.48 | MO 169 Art.48 | Ann.IX §2.2(c)
20 | Monitoring & Measuring Equipment (Calibration) | 7.6 | §820.7 IBR → ISO 13485 Cl.7.6 | SOR s.2 | TG(MD)R | RDC 665 Art.49 | MO 169 Art.49 | Ann.IX §2.2(c)
CLAUSE 8: MEASUREMENT, ANALYSIS & IMPROVEMENT
21 | Feedback & Complaint Handling | 8.2.1 | §820.7 IBR → ISO 13485 Cl.8.2.1 §820.10(b)(2) → 21 CFR 803 MDR §820.35(a) Complaint record content | SOR s.59-64 Mandatory reporting | TG Act s.41FQ Event reporting | RDC 665 Art.50 RDC 615 Vigilance | MO 169 Art.50 Ch.3 Art.69 GVP | Art.83-86 PMS Art.87 Serious incidents
22 | Internal Audit | 8.2.2 | §820.7 IBR → ISO 13485 Cl.8.2.2 NOTE: Internal audit records now subject to FDA inspection | SOR s.2 | TG(MD)R | RDC 665 Art.51 | MO 169 Art.51 | Ann.IX §2.2(a)
23 | Monitoring of Processes and Product | 8.2.3-8.2.4 | §820.7 IBR → ISO 13485 Cl.8.2.3-8.2.4 | SOR s.2 | TG(MD)R | RDC 665 Art.52-53 | MO 169 Art.52-53 | Ann.IX §2.2(c)
24 | Control of Nonconforming Product | 8.3 | §820.7 IBR → ISO 13485 Cl.8.3 | SOR s.2 | TG(MD)R | RDC 665 Art.54 | MO 169 Art.54 | Ann.IX §2.2(c)
25 | Analysis of Data | 8.4 | §820.7 IBR → ISO 13485 Cl.8.4 | SOR s.2 | TG(MD)R | RDC 665 Art.55 | MO 169 Art.55 | Ann.IX §2.2(a)
26 | CAPA (Corrective & Preventive Action) | 8.5.1-8.5.2 | §820.7 IBR → ISO 13485 Cl.8.5.1-8.5.2 §820.10(b)(5) → 21 CFR 806 CAPA remains high FDA inspection priority | SOR s.59-64 | TG Act s.41FQ-FS | RDC 665 Art.56-58 | MO 169 Art.56-58 | Art.10(10), Ann.IX
27 | Advisory Notices & FSCA | 8.5.3 | §820.7 IBR → ISO 13485 Cl.8.5.3 §820.10(b)(3)(5) → 21 CFR 806 21 CFR 803 MDR reporting | SOR s.59-64 Recall to HC | TG Act s.41FQ-FS FSCA | RDC 665 Art.59 RDC 615 FSCA/FSN | MO 169 Art.59 Ch.3 Art.69-70 GVP | Art.83, 87-92 FSCA/FSN
ADDITIONAL REGULATORY-SPECIFIC REQUIREMENTS
28 | Post-Market Surveillance (PMS) System | — | 21 CFR 822 PMS (Class III/select II) 21 CFR 803 MDR reporting | SOR s.59-64 Trending | TG Act s.41FN-FP | RDC 665/615 Tecnovigilance | MO 169 PMDA PMS | Art.83-86 Ann.III PSUR
29 | Post-Market Clinical Follow-up (PMCF) | — | FDA 522 post-approval studies (if applicable) | HC may require post-market data | TGA may require post-market data | ANVISA clinical evidence reqs | PMDA post-market study reqs | Art.61 Ann.XIV Part B
30 | Vigilance / Adverse Event Reporting | — | 21 CFR 803 MDR reporting (5, 15, 30 day) §820.35(a) complaint records | SOR s.59-64 10/30 day reports | TG Act s.41FQ 2/10/30 day | RDC 615/2022 72hr/10/30 day | PMD Act Art.68 MO 135 GVP | Art.87-92 2-15 day reports
31 | Clinical Evaluation / Clinical Evidence | — | 510(k)/PMA/De Novo clinical data pathways | SOR s.10-20 Safety & effectiveness | TG(MD)R Sch1 Pt1 cl.1 EP 14 clinical evidence | RDC 56/2001 Clinical evidence | MO 169 Clinical evaluation | Art.61 Ann.XIV/XV
32 | Labeling & IFU Compliance (all markets) | — | §820.45 Labeling/packaging controls 21 CFR 801 Labeling | SOR s.21-23 EN/FR bilingual | TG(MD)R Sch1 cl.13 EP 13 updated Nov 2025 | RDC 665/751 Portuguese req. | MO 169 Japanese labeling | Art.10(11) Ann.I §23
33 | Market Registrations & Licenses | — | 21 CFR 807 Registration 510(k)/PMA/De Novo | SOR s.26-30 MDL/MDEL | TG Act ARTG listing | RDC 751/2022 ANVISA registro | PMD Act PMDA approval/cert | Art.29 DoC CE Mark, EUDAMED
34 | Technical Documentation / STED | — | §820.7 IBR → ISO 13485 Cl.4.2.2 Medical Device File (MDF) | SOR s.26-30 Device files | TG(MD)R EP compliance docs | RDC 665 Art.10 RDC 751 Ann.II IMDRF ToC | MO 169 Art.7-2 Medical Device File | Ann.II & III Full tech doc
POST-AUDIT VERIFICATION
☐ All planned audit areas were covered in audit report(s)
☐ Audit report references match plan (report number, clause/process, applicable schemes)
☐ All applicable regulatory schemes per certification scope were audited
☐ Any deviations from plan are documented with justification
☐ Findings from audit report are entered into CAPA system with due dates
☐ Management review scheduled to include audit results
Verified by: |  |  |  | Date: |  | Signature:
SCHEDULE KEY: P = Planned ¦ C = Completed ¦ R = Rescheduled ¦ X = Not applicable to scope
FDA QMSR NOTE: As of Feb 2, 2026, 21 CFR 820 incorporates ISO 13485:2016 by reference (§820.7). Old QSR section numbers (§820.20-820.250) are withdrawn. Supplemental FDA requirements in §820.10, §820.35, §820.45 only. Internal audits, mgmt reviews, and supplier audits are now subject to FDA inspection.
REGULATORY VERSIONS: ISO 13485:2016 ¦ FDA QMSR 21 CFR 820 (eff. Feb 2, 2026) ¦ HC SOR/98-282 (amended May 2025) ¦ TGA: TG(MD)R 2002 + EP updated Nov 2025 ¦ ANVISA RDC 665/2022 ¦ MHLW MO 169 (rev. Mar 2021) ¦ EU MDR 2017/745
Need help customizing this for your device portfolio and target markets? Free 30-min scope review: svetlana.abel@saqms.com

## Audit Checklist
HARMONIZED INTERNAL AUDIT CHECKLIST
ISO 13485:2016 ¦ FDA QMSR 21 CFR 820 (eff. Feb 2, 2026) ¦ MDSAP (HC, TGA, ANVISA, MHLW) ¦ EU MDR 2017/745
Created by Svetlana Abel ¦ NB Technical Manager & Lead Auditor ¦ svetlana.abel@saqms.com
Audit Date: |  | Auditor(s): |  | Auditee/Dept: |  |  | Audit Type:
Audit Plan Ref: |  | Plan Item #(s): |  | Schemes in scope:
FDA QMSR NOTE: As of Feb 2, 2026, ISO 13485:2016 is incorporated by reference into 21 CFR 820 via §820.7. Each ISO 13485 clause IS the FDA requirement. Additional FDA-specific requirements are in §820.10, §820.35, and §820.45 only.
ISO 13485 Clause | Audit Requirement / Question | FDA QMSR 21 CFR 820 (eff. 02/02/2026) | Health Canada (SOR/98-282 amended 2025) | TGA Australia (TG(MD)R 2002 EP updated 2025) | ANVISA Brazil (RDC 665/2022) | MHLW Japan (MO 169 rev.2021) | EU MDR 2017/745 | Status | Evidence / Notes | Finding Ref
CLAUSE 4: QUALITY MANAGEMENT SYSTEM
4.1 | Is a QMS established, documented, implemented, maintained, and its effectiveness measured? | §820.10(a) QMS per ISO 13485 §820.10(c) Risk-based approach §820.10(d) Identify applicable regs | SOR/98-282 s.2 | TG(MD)R 2002 Essential Principles | RDC 665 Art.4-6 | MO 169 (2021) Art.5-6 Ch.2 Sec.1 | Art.10(9) Ann.IX Ch.I
4.1.1 | Are outsourced processes identified, controlled, and documented within the QMS? | §820.7 IBR → Cl.4.1.1 §820.10(e) Supplier audits inspectable | SOR s.2 | TG(MD)R Sch1 Pt1 cl.2 | RDC 665 Art.7 | MO 169 Art.7 | Art.10(9)
4.2.1 | Is a Quality Manual maintained including scope, exclusions, and process interactions? | §820.7 IBR → Cl.4.2.1 | SOR s.2 | TG(MD)R | RDC 665 Art.8 | MO 169 Art.8 | Ann.IX §2.2
4.2.2 | Is a medical device file / technical documentation maintained for each device type? | §820.7 IBR → Cl.4.2.2 Medical Device File (MDF) replaces DMR/DHR/DHF | SOR s.26-30 Device files | TG(MD)R Sch1 | RDC 665 Art.10 | MO 169 Art.7-2 Medical Device File | Art.10(4) Ann.II & III
4.2.3 | Is there a documented procedure for document control? | §820.7 IBR → Cl.4.2.3 | SOR s.2 | TG(MD)R | RDC 665 Art.9 | MO 169 Art.9 | Ann.IX §2.2(b)
4.2.4 | Are records controlled, identifiable, retrievable, stored, protected, and legible? | §820.7 IBR → Cl.4.2.4 §820.35 Supplemental requirements: (a) complaint records (b) service records (c) UDI per 21 CFR 830 (d) confidentiality | SOR s.51-67 10 yr retention | TG(MD)R Reg 5.10 records | RDC 665 Art.11 | MO 169 Art.11 Ch.3 additional retention | Art.10(8) 10yr/15yr implant
4.2.5 | Do record retention periods meet ALL applicable regulatory timeframes? | §820.35 Control of Records Retention per applicable FDA regulations | SOR s.67 CMDR requirements | TG Act s.41FN Reg 5.10 | RDC 665 Art.12 | MO 169 Art.12 Ch.3 extended periods | Art.10(8) 10yr / 15yr implant
CLAUSE 5: MANAGEMENT RESPONSIBILITY
5.1 | Is there evidence of management commitment to QMS? | §820.7 IBR → Cl.5.1 Mgmt review subject to FDA inspection | SOR s.2 | TG(MD)R | RDC 665 Art.13 | MO 169 Art.13 | Ann.IX §2.2(a)
5.2 | Are applicable regulatory requirements for ALL target markets determined and met? | §820.10(d) Identify ALL applicable FDA and non-FDA regulatory reqs | SOR s.2-4 | TG Act Part 3 | RDC 665 Art.14 | MO 169 Art.14 | Art.10(1-14)
5.3 | Is a quality policy established, communicated, and reviewed? | §820.7 IBR → Cl.5.3 | SOR s.2 | TG(MD)R | RDC 665 Art.15 | MO 169 Art.15 | Ann.IX §2.2(a)
5.4.1 | Are quality objectives established, measurable, and consistent with policy? | §820.7 IBR → Cl.5.4.1 | SOR s.2 | TG(MD)R | RDC 665 Art.16 | MO 169 Art.16 | Ann.IX §2.2(a)
5.5.1 | Are responsibilities and authorities defined and communicated? | §820.7 IBR → Cl.5.5.1 | SOR s.2 | TG(MD)R | RDC 665 Art.17 | MO 169 Art.17 | Ann.IX §2.2(a)
5.5.2 | Is a management representative appointed with QMS authority? | §820.7 IBR → Cl.5.5.2 | SOR s.2 | TG(MD)R | RDC 665 Art.18 | MO 169 Art.18 Ch.3 General MAH Director | Art.15 PRRC
5.6 | Is management review conducted at planned intervals with required inputs/outputs? | §820.7 IBR → Cl.5.6 NOTE: No longer exempt from FDA inspection (QSIT withdrawn) | SOR s.2 | TG(MD)R | RDC 665 Art.19-20 | MO 169 Art.19-20 | Ann.IX §2.2(a)
CLAUSE 6: RESOURCE MANAGEMENT
6.1 | Are resources identified and provided? | §820.7 IBR → Cl.6.1 | SOR s.2 | TG(MD)R | RDC 665 Art.21 | MO 169 Art.21 | Ann.IX §2.2(a)
6.2 | Is personnel competence determined, training provided, effectiveness evaluated? | §820.7 IBR → Cl.6.2 | SOR s.2 | TG(MD)R | RDC 665 Art.22 | MO 169 Art.22 | Ann.IX §2.2(d)
6.3 | Is infrastructure determined, provided, and maintained? | §820.7 IBR → Cl.6.3 | SOR s.2 | TG(MD)R | RDC 665 Art.23 | MO 169 Art.23 | Ann.IX §2.2(a)
6.4 | Is work environment managed (cleanliness, contamination, personnel health)? | §820.7 IBR → Cl.6.4 | SOR s.2 | TG(MD)R Sch1 Pt1 cl.5 | RDC 665 Art.24 | MO 169 Art.24 | Ann.IX §2.2(a)
CLAUSE 7: PRODUCT REALIZATION
7.1 | Is product realization planned with objectives, processes, V&V, and records? | §820.7 IBR → Cl.7.1 §820.10(c) Risk mgmt integration | SOR s.2 | TG(MD)R Sch1 | RDC 665 Art.25 | MO 169 Art.25 | Ann.IX §2.2(c)
7.2 | Are product requirements determined, reviewed, and customer communication established? | §820.7 IBR → Cl.7.2 §820.10(b)(2)(3) → 21 CFR 803/806 | SOR s.10-20, s.59-64 | TG Act s.41FQ | RDC 665 Art.26-29 RDC 615 | MO 169 Art.26-29 Ch.3 Art.69-70 | Ann.I GSPR Art.83-92
7.3.1 | Is there a documented design and development procedure? | §820.7 IBR → Cl.7.3.1 §820.10(c) Risk-based design | SOR s.2 | TG(MD)R Sch1 | RDC 665 Art.30 | MO 169 Art.30 | Ann.IX, Ann.II §4
7.3.2 | Are design inputs documented, reviewed, approved? | §820.7 IBR → Cl.7.3.2 | SOR s.2 | TG(MD)R Sch1 Pt1 | RDC 665 Art.31 | MO 169 Art.31 | Ann.I GSPR, Ann.II §4.1
7.3.3 | Do design outputs meet inputs with acceptance criteria? | §820.7 IBR → Cl.7.3.3 | SOR s.2 | TG(MD)R | RDC 665 Art.32 | MO 169 Art.32 | Ann.II §4
7.3.4 | Are design reviews conducted at suitable stages? | §820.7 IBR → Cl.7.3.4 | SOR s.2 | TG(MD)R | RDC 665 Art.33 | MO 169 Art.33 | Ann.II §4
7.3.5 | Is design verification performed? | §820.7 IBR → Cl.7.3.5 | SOR s.2 | TG(MD)R | RDC 665 Art.34 | MO 169 Art.34 | Ann.II §4
7.3.6 | Is design validation performed on representative product? | §820.7 IBR → Cl.7.3.6 | SOR s.2 | TG(MD)R Sch1 Clinical evidence | RDC 665 Art.35 | MO 169 Art.35 | Ann.II §4,6.1 Art.61
7.3.7 | Is design transfer documented and verified? | §820.7 IBR → Cl.7.3.7 | SOR s.2 | TG(MD)R | RDC 665 Art.36 | MO 169 Art.36 | Ann.II §4
7.3.8 | Are design changes controlled, evaluated, V&V'd, approved? | §820.7 IBR → Cl.7.3.8 | SOR s.2 | TG(MD)R | RDC 665 Art.37 | MO 169 Art.37 | Art.10(10), Ann.IX §2.4
7.3.9 | Is a design and development file maintained? | §820.7 IBR → Cl.7.3.9-7.3.10 MDF replaces DMR/DHR/DHF | SOR s.26-30 | TG(MD)R | RDC 665 Art.38 | MO 169 Art.38 Medical Device File | Ann.II Complete tech doc
7.4.1 | Is there a procedure for supplier evaluation, selection, monitoring? | §820.7 IBR → Cl.7.4.1 §820.10(e) Supplier audit records now inspectable by FDA | SOR s.2 | TG(MD)R | RDC 665 Art.39 | MO 169 Art.39 | Ann.IX §2.2(c)
7.4.2 | Are purchasing documents complete? | §820.7 IBR → Cl.7.4.2 | SOR s.2 | TG(MD)R | RDC 665 Art.40 | MO 169 Art.40 | Ann.IX §2.2(c)
7.4.3 | Is incoming product verified? | §820.7 IBR → Cl.7.4.3 | SOR s.2 | TG(MD)R | RDC 665 Art.41 | MO 169 Art.41 | Ann.IX §2.2(c)
7.5.1 | Are production processes controlled under documented conditions? | §820.7 IBR → Cl.7.5.1 §820.45 Device labeling and packaging controls (supplemental) | SOR s.2 | TG(MD)R Sch1 Pt1 cl.5 | RDC 665 Art.42 | MO 169 Art.42 | Ann.IX §2.2(c)
7.5.2 | Are special processes validated (IQ/OQ/PQ)? | §820.7 IBR → Cl.7.5.2 §820.10(b)(4) Process validation | SOR s.2 | TG(MD)R | RDC 665 Art.43 | MO 169 Art.43 | Ann.IX §2.2(c)
7.5.3 | Are sterilization processes validated per recognized standards? | §820.7 IBR → Cl.7.5.3 | SOR s.2 | TG(MD)R Sch1 Pt1 cl.5 | RDC 665 Art.44 | MO 169 Art.44 | Ann.I §11.1, Ann.II §4
7.5.4-5 | Is product identified with traceability maintained? | §820.7 IBR → Cl.7.5.4-7.5.5 | SOR s.2 | TG(MD)R | RDC 665 Art.45-46 | MO 169 Art.45-46 | Art.25, Art.27
7.5.8 | Is UDI assigned, labeled, and registered in applicable databases? | §820.10(b)(1) UDI per 21 CFR 830 §820.35(c) UDI documentation GUDID registration required | SOR/98-282 UDI (evolving) | TG(MD)R UDI Regs 2023/2025 AusUDID | RDC 591/2021 UDI SIUD database (phased 2025-2028) | MO 169 UDI (evolving) | Art.27 Ann.VI Part C EUDAMED
7.5.9-11 | Are storage, handling, distribution documented and monitored? | §820.7 IBR → Cl.7.5.9-7.5.11 | SOR s.44-48 | TG(MD)R | RDC 665 Art.48 | MO 169 Art.48 | Ann.IX §2.2(c)
7.6 | Is monitoring/measuring equipment calibrated and traceable? | §820.7 IBR → Cl.7.6 | SOR s.2 | TG(MD)R | RDC 665 Art.49 | MO 169 Art.49 | Ann.IX §2.2(c)
CLAUSE 8: MEASUREMENT, ANALYSIS & IMPROVEMENT
8.2.1 | Is feedback (including complaints) collected and analyzed per regulatory requirements? | §820.7 IBR → Cl.8.2.1 §820.10(b)(2) → 21 CFR 803 §820.35(a) Complaint record content (investigation criteria specified) | SOR s.59-64 Mandatory reporting | TG Act s.41FQ Event reporting | RDC 665 Art.50 RDC 615 Vigilance | MO 169 Art.50 Ch.3 Art.69 GVP MO 135 | Art.83-86 PMS Art.87 Incidents
8.2.2 | Is an internal audit program planned, conducted, and documented? | §820.7 IBR → Cl.8.2.2 NOTE: Audit records now subject to FDA inspection (no exemption) | SOR s.2 | TG(MD)R | RDC 665 Art.51 | MO 169 Art.51 | Ann.IX §2.2(a)
8.2.3 | Are processes monitored with suitable methods? | §820.7 IBR → Cl.8.2.3 | SOR s.2 | TG(MD)R | RDC 665 Art.52 | MO 169 Art.52 | Ann.IX §2.2(a)
8.2.4 | Is product conformity verified at appropriate stages? | §820.7 IBR → Cl.8.2.4 | SOR s.2 | TG(MD)R | RDC 665 Art.53 | MO 169 Art.53 | Ann.IX §2.2(c)
8.3 | Is nonconforming product identified, documented, segregated, dispositioned? | §820.7 IBR → Cl.8.3 | SOR s.2 | TG(MD)R | RDC 665 Art.54 | MO 169 Art.54 | Ann.IX §2.2(c)
8.4 | Is data analyzed to demonstrate QMS effectiveness? | §820.7 IBR → Cl.8.4 | SOR s.2 | TG(MD)R | RDC 665 Art.55 | MO 169 Art.55 | Ann.IX §2.2(a)
8.5.1 | Is there a documented CAPA procedure? | §820.7 IBR → Cl.8.5.1 §820.10(b)(5) → 21 CFR 806 CAPA remains high FDA priority | SOR s.59-64 | TG Act s.41FQ-FS | RDC 665 Art.56-57 | MO 169 Art.56-57 | Art.10(10), Ann.IX
8.5.2 | Is preventive action taken to eliminate potential NC causes? | §820.7 IBR → Cl.8.5.2 | SOR s.2 | TG(MD)R | RDC 665 Art.58 | MO 169 Art.58 | Ann.IX §2.2(a)
8.5.3 | Are advisory notices/FSCA managed per ALL market regulations? | §820.7 IBR → Cl.8.5.3 §820.10(b)(3)(5) → 21 CFR 806 21 CFR 803 MDR reporting | SOR s.59-64 Recall to HC | TG Act s.41FQ-FS FSCA to TGA | RDC 665 Art.59 RDC 615 FSCA/FSN RDC 551/2021 | MO 169 Art.59 Ch.3 Art.69-70 | Art.83, 87-92 FSCA/FSN
ADDITIONAL REGULATORY-SPECIFIC REQUIREMENTS
PMS | Is a PMS system established and maintained? | 21 CFR 822 PMS 21 CFR 803 MDR | SOR s.59-64 Trending | TG Act s.41FN-FP | RDC 665/615 Tecnovigilance | MO 169 PMDA PMS MO 135 GVP | Art.83-86 Ann.III PSUR
PMCF | Is PMCF conducted per applicable requirements? | FDA 522 post-approval studies | HC post-market data | TGA post-market data | ANVISA clinical evidence | PMDA post-market studies | Art.61 Ann.XIV Part B
VIG | Are adverse event reporting obligations met for ALL markets? | 21 CFR 803 MDR (5/15/30 day reports) §820.35(a) complaint records | SOR s.59-64 10/30 day | TG Act s.41FQ 2/10/30 day | RDC 615/2022 72hr/10/30 day | PMD Act Art.68 MO 135 GVP | Art.87-92 2-15 day
CE | Is clinical evaluation maintained throughout device lifecycle? | 510(k)/PMA/De Novo clinical pathways | SOR s.10-20 | TG(MD)R Sch1 EP 14 clinical evidence | RDC 56/2001 | MO 169 clinical eval | Art.61 Ann.XIV/XV
LBL | Is labeling compliant with ALL market requirements? | §820.45 Labeling/packaging 21 CFR 801 Labeling | SOR s.21-23 EN/FR bilingual | TG(MD)R Sch1 cl.13 EP 13 (UDI + labeling) | RDC 665/751 Portuguese req. | MO 169 Japanese labeling | Art.10(11) Ann.I §23
REG | Are market registrations and licenses current? | 21 CFR 807 Registration 510(k)/PMA/De Novo | SOR s.26-30 MDL/MDEL | TG Act ARTG listing | RDC 751/2022 Registro/Notificação | PMD Act PMDA approval | Art.29 DoC CE Mark, EUDAMED
STED | Is technical documentation complete and current? | §820.7 IBR → Cl.4.2.2 Medical Device File (MDF) | SOR s.26-30 | TG(MD)R EP docs | RDC 665 Art.10 RDC 751 Ann.II IMDRF ToC | MO 169 Art.7-2 Medical Device File | Ann.II & III
STATUS: C = Conforming ¦ NC-Maj = Major NC ¦ NC-Min = Minor NC ¦ OBS = Observation ¦ OFI = Opportunity for Improvement ¦ N/A = Not Applicable
REGULATORY VERSIONS: ISO 13485:2016 ¦ FDA QMSR 21 CFR 820 (eff. Feb 2, 2026) ¦ HC SOR/98-282 (amended May 2025) ¦ TGA: TG(MD)R 2002 + EP updated Nov 2025 ¦ ANVISA RDC 665/2022 + RDC 751/2022 ¦ MHLW MO 169 (rev. Mar 2021) ¦ EU MDR 2017/745
IMPORTANT: Verify all regulatory references against current published versions. QMSR transition: all old QSR §820.20-820.250 references are withdrawn. ISO 13485:2016 IS the FDA requirement via IBR.
Need help customizing this for your device portfolio and target markets? Free 30-min scope review: svetlana.abel@saqms.com

## Audit Report
INTERNAL AUDIT REPORT — HARMONIZED MULTI-SCHEME
ISO 13485:2016 ¦ FDA QMSR 21 CFR 820 (eff. Feb 2, 2026) ¦ MDSAP (HC, TGA, ANVISA, MHLW) ¦ EU MDR 2017/745
REPORT IDENTIFICATION
Report Number: |  |  |  |  | Audit Plan Reference:
Audit Date(s): |  |  |  |  | Report Date:
Audit Type: |  |  |  |  | Lead Auditor:
Auditee Organization: |  |  |  |  | Site(s) Audited:
SCOPE & APPLICABLE SCHEMES
Cert Scope:
Applicable: | ISO 13485 | FDA QMSR (eff.02/2026) | Health Canada (SOR amended 2025) | TGA Australia (TG(MD)R 2002) | ANVISA Brazil (RDC 665/2022) | MHLW Japan (MO169 rev.2021) | EU MDR 2017/745
In Scope (Y/N): | [8 empty] | ☐ Matches audit plan
Plan Item #(s): | [8 empty] | ☐ All plan items covered
Audit Objective:
Audit Criteria:
EXECUTIVE SUMMARY
FINDINGS SUMMARY
Major Nonconformities: |  | Count:
Minor Nonconformities: |  | Count:
Observations: |  | Count:
OFIs: |  | Count:
DETAILED FINDINGS
Finding # | ISO 13485 Clause | FDA QMSR Ref | HC Ref | TGA Ref | ANVISA Ref | MHLW Ref | EU MDR Ref | Category | Plan Item # | Due Date
FINDING DETAIL TEMPLATE (Copy for each finding)
Finding Number:
Category:
Plan Item # Reference:
REGULATORY REFERENCES FOR THIS FINDING
ISO 13485 Clause:
FDA QMSR (21 CFR 820 + IBR clause):
Health Canada (SOR/98-282):
TGA Australia (TG(MD)R/EP):
ANVISA Brazil (RDC 665/2022):
MHLW Japan (MO 169 rev.2021):
EU MDR 2017/745:
Finding Statement:
Objective Evidence:
Regulatory Impact Assessment:
Required Corrective Action:
Due Date:
Auditee Response Area:
AUDIT CLOSURE & PLAN VERIFICATION
☐ All audit plan items covered
☐ All regulatory schemes assessed
☐ All findings communicated to auditee
☐ Findings entered into CAPA system
☐ Management review updated
Lead Auditor: |  |  |  | Signature: |  |  | Date:
Auditee Representative: |  |  |  | Signature: |  |  | Date:
QA Manager Approval: |  |  |  | Signature: |  |  | Date:
Follow-up audit required: ☐ Yes ☐ No Scheduled date: ____________
Need help customizing this for your device portfolio and target markets? Free 30-min scope review: svetlana.abel@saqms.com